Supporting Statement for Discharge of Conditions
1. Windows
Document 1 (window drawings) confirms the provision of one high-level window to both the front (east) and rear (west) elevations, in line with the approved scheme.
Document 2 provides written confirmation from the manufacturer that the proposed windows are of the same manufacture and specification as those previously approved and installed, and will match accordingly .
This directly addresses the Conservation Officer’s comments (email dated 09/04/2026), which require:
· consistency with approved plans; and
· alignment with recently approved first-floor windows in profile and material (aluminium).
The proposed windows fully comply with these requirements.
They are not new or alternative designs, but a continuation of an established, approved window specification already implemented on the building under separate permissions.
On that basis, the details submitted clearly satisfy the condition and there is no conflict with conservation requirements.

2. Flint Work
The flint detailing has been discussed on site with the Conservation Officer, who:
· recommended minor refinements to detailing; and
· confirmed a preference to review the works once underway to guide finish and execution.
Flint work is programmed to commence week commencing 11th May 2026.
We are content to facilitate a site visit at that stage to ensure the finish meets expectations.
Please confirm how the Local Planning Authority would like to coordinate this.

